## Slide 1: Energy Generation
CERT Educational Series
Greg Monty PhD, Vicki Foust PhD, and Elizabeth Keele M.Ed

## Slide 2: Energy Sources
Non-renewable sources
  Cannot be replaced for millions of years
  Limited
Renewable sources
  Rely on natural sources of sunlight, heat from the core of the earth, or weather
  Unlimited

## Slide 3: Non-Renewable Resources
Fossil Fuels
  Coal
  Natural Gas
  Oil
Nuclear

## Slide 4: Renewable Resources
Solar
Wind
Hydro
Geothermal
Biomass

## Slide 5: US Energy Generation
Wind, Solar, Hydro
Biomass

## Slide 6: Electricity End-Use Sectors

## Slide 7: NC Energy Generation
US 2016 30%
US 2016 34%
US 2016 20%
US 2016 13% vs. NC 2014 4.5%

## Slide 8: Cost of Energy

## Slide 9: Coal
Energy Generation Process: burn coal → boil water → produce High Pressure steam → turn turbine → create electricity
Percentage of Total Energy Generated in the US: ~30%
Positive Aspects: Cost efficient, abundant resource, easy to increase/decrease supply based on demand
Negative Aspects : High carbon emissions, bi-product is coal ash
with hazardous metals and other compounds, non-renewable, and high water use for cooling
Notes: How it works: Coal-fired plants produce electricity by burning coal in a boiler to produce steam. after the the steam is produced under tremendous pressure, it flows into a turbine, which spins a generator to create electricity.

## Slide 10: Coal Fired Power Station

## Slide 11: Natural Gas
Energy Generation Process: burn natural gas → produce steam → turn turbine → generate electricity
Percentage of Total Energy Generated in the US: ~34% (more than coal)
Positive Aspects : major source of energy, produces 40% the amount of carbon when burned compared to coal
Negative Aspects : emits carbon & nitrogen, nonrenewable, leaks of natural gas at wells are an issue
Notes: How it works: Natural gas is created through a steam generation unit where fossil fuels are burned in a boiler to heat water and produce steam that turns a turbine to generate electricity.
Uses: heating, manufacturing, electricity, fuel for vehicles
Natural gas accounts for about 34% of energy production in the U.S.
Advantages
-abundant and a major source of energy
- produces half the amount of carbon(compared to coal)when burned
Disadvantages
-unburned, natural gas is a powerful greenhouse gas that emits carbon & nitrogen
-nonrenewable
-still contributes a significant amount of pollution
n

## Slide 12: Natural Gas Power Station

## Slide 13: Nuclear
Energy Generation Process: Uranium-235 isotope fissious/splits → releases heat in a chain reaction → produce steam → spin turbines → generate electricity
Percentage of Total Energy Generated in the US: ~20%
Positive Aspects : produces near zero greenhouse gas emissions
Negative Aspects : radioactive waste, nuclear accidents, high use of water, non-renewable
Notes: Nuclear/Uranium Electricity Generation
How it works: atoms split by nuclear reactions to heat to steam to turbine to electricity
US powered by 20% Nuclear energy
Advantages: lower carbon emissions, lower pollution, higher reliability
Disadvantages: nuclear waste & accidents, non-renewable, expensive electricity

## Slide 14: Nuclear Energy Generation

## Slide 15: Wind
Energy Generation Process: uneven heating on earth → produces wind → turns turbine/blades → produces electricity
Percentage of Total Energy Generated in the US: > 4%
Positive Aspects : no air pollution, renewable
Negative Aspects : Wind Farms only run when wind velocity is high, wildlife (birds) hit by blades, only viable in certain locations in the US, intermittent source
Notes: Process: caused by the uneven heating of the Earth’s surface by radiant energy from the sun
Accounts for more than four percent of U.S. electricity
Pros: Clean renewable energy source that produces no air pollution
(cons): Wind Farms can only run when the wind is blowing at certain speeds

## Slide 16: Wind Generation

## Slide 17: Solar
Energy Generation Process: radiation from the sun → hits photovoltaic panel → produces electricity (DC current) → Inverter produces AC electricity for grid
Percentage of Total Energy Generated in the US: < 1 %
Positive Aspects : no air pollution, renewable
Negative Aspects : Requires large area, viable only if sun shines during daytime (intermittent)
Notes: Energy is radiated through the sun —- energy is then produced from that Sun’s inner core —-is processed through nuclear fusion
Accounts for less that one percent of the nation’s energy
Pros: does not pollute the environment
Cannot be controlled by any one nation or industry
Cons: Sun does not deliver energy to any one place at any one time

## Slide 18: Solar Generation

## Slide 19: Hydroelectric Power
Energy Generation Process: rain or snow melt fill reservoirs → water flows through turbines → produces electricity
Percentage of Total Energy Generated in the US: ~10%
Positive Aspects : cheapest way to generate electricity, no air pollution, renewable
Negative Aspects : alters water patterns within dams, not a source in all states
Notes: Process: sun draws moisture up from the oceans and rivers, and this moisture condenses into clouds. The moisture is released from the clouds as rain or snow
Hydropower can provide anywhere between 5 and 10 percent of the country’s electricity
Pros: cheapest way to generate electricity in the United States Cheaper than electricity from coal or nuclear plants Produces no air pollution
Cons: alters water patterns within dams
wildlife and natural resources are affected

## Slide 20: Hydropower Generation

## Slide 21: Biomass
Energy Generation Process: grow biomass → produce liquid or solid fuels → biomass is heated or burned → turns turbine → produce electricity
Percentage of Total Energy Generated in the US: ~11%
Positive Aspects : renewable energy —- can grow biomass in a short period time
Negative Aspects : air pollution, water usage

## Slide 22: Biomass

## Slide 23: Geothermal
Energy Generation Process: generated from the Earth’s core temperature from radioactive decay → heats water → turns turbine → produces electricity
Percentage of Total Energy Generated in the US: < 1%
Positive Aspects : continuous heat production,
no environmental damage, produces no emissions
Negative Aspects : expensive, only useful in isolated regions on earth

## Slide 24: Geothermal Generation

## Slide 25: Petroleum
Energy Generation Process: formed underground from decaying animal & plant material → burn under pressure → heat water → create steam → turn turbine → generate electricity
Percentage of Total Energy Uses: < 1% (for electricity), but a major source for transportation
Postive Aspects: easy to transport, easy to extract, low cost, high energy content
Negative Aspects : resources are limited, produces hazardous substances as bi-product of combustion, high carbon emissions, non-renewable
Notes: How it works: Petroleum is formed underground from decaying animal and plant material. Oil is burned under pressure to heat water to create steam to generate electricity.
Uses: transportation, manufacturing
less than 1% of petroleum is used to generate electricity in the U.S.
Advantages
-easy to transport
-easy to extract;extracted at a low cost
-efficient in producing energy
-uses less pollution than coal
isadvantages
-resources are limited
-produces hazardous substances
-pollution: air and danger of water pollution through spills
-nonrenewable

## Slide 26: Petroleum

## Slide 27: Energy Storage
Intermittent Energy Sources are not continuously available
  Solar generation is only available when there is sun
  Wind generation is only available when there is wind
  Energy storage is used to deal with intermittency
    Battery Storage
    Pumped Hydro

## Slide 28: Battery Storage
Energy Generation Process: store energy in chemical form → convert stored chemical energy into electrical energy
Percentage of Total Energy Generated in the US: 6%
Postive Aspects : helps balance grid power, stores energy from internittent solar and wind for later use
Negative Aspects : can only store energy for a certain amount of time, relatively expensive today

## Slide 29: Battery Storage

## Slide 30: Pumped Hydro
Energy Generation Process: Pump water up hill to reservoir when cost of electricity is low → release water from reservoir → water turns turbine → produces electricity
Percentage of Total Energy Generated in the US: 2%
Postive Aspects: cost efficient, provide energy-balancing, stability, storage capacity and ancillary grid services
Negative Aspects: initial capital costs high, negative environmental and ecological impacts from dams and reservoirs
Notes: Process: store energy in the form of water → generated by releasing the stored water through turbines
Uses:
Pros: cost efficient, provide energy-balancing, stability, storage capacity and ancillary grid services
Cons: initial capital cost and potential site-specific negative environmental and ecological impacts and the fact that the electrical power used for pumping the water back up the mountain could possibly come from other energy sources, such as nuclear, coal fired power stations, whose power output cannot be adjusted to follow load fluctuations.

## Slide 31: Pumped Hydro Storage

## Slide 32: Energy Efficiency
Reduces demand for energy
Using less energy through efficiency measures reduces costs and environmental impact
  Fewer power plants needed
  Lower carbon emissions

## Slide 33: Changing Energy Generation Profiles
Concerns about Climate Change (Paris Accord)
  Stimulating a shift to Renewable Sources
Carbon Taxes
  Policy discussion and implementation to impose tax on Carbon emissions
  Meant to represent the “true” cost of Energy Generation
    Added tax proportional to carbon emitted during generation
  Carbon emission’s costs to society are seen in
    Reaction to storms, rising seas
    Health effects from emissions

## Slide 34
Thank you for participating in the
CERT Educational Series